## Sheet1
Interval | TIME | AGC MW | Raw ECOBP | Energy RR at AGC MW (MW/min) | RR MW/10sec | Ramped EcoBP | Fleet TREG | Fleet Regulation Control Signal
1 | 0:00 | 1.3005 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.65133
2 | 0:00 | 0.65133 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.3605
3 | 0:00 | -0.3605 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.2035
4 | 0:00 | -1.2035 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.1812
5 | 0:01 | -2.1812 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.3365
6 | 0:01 | -3.3365 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.1028
7 | 0:01 | -4.1028 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.6209
8 | 0:01 | -4.6209 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.7019
9 | 0:01 | -4.7019 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.8313
10 | 0:01 | -5.8313 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.6481
11 | 0:02 | -5.6481 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.3186
12 | 0:02 | -5.3186 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.489
13 | 0:02 | -5.489 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.8874
14 | 0:02 | -5.8874 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.145
15 | 0:02 | -7.145 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9076
16 | 0:02 | -8.9076 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.9315
17 | 0:03 | -10.9315 | 0 | 999999 | 166666.5 | 20 | 2000 | -12.329
18 | 0:03 | -12.329 | 0 | 999999 | 166666.5 | 20 | 2000 | -11.4961
19 | 0:03 | -11.4961 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.2902
20 | 0:03 | -10.2902 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.1304
21 | 0:03 | -8.1304 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.4699
22 | 0:04 | -6.4699 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.6468
23 | 0:04 | -4.6468 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.4866
24 | 0:04 | -3.4866 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.3387
25 | 0:04 | -3.3387 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.3012
26 | 0:04 | -3.3012 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.7638
27 | 0:04 | -2.7638 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.1566
28 | 0:05 | -1.1566 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.0093071
29 | 0:05 | 0.0093071 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.81819
30 | 0:05 | 0.81819 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.2351
31 | 0:05 | 1.2351 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.6519
32 | 0:05 | 1.6519 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.0472
33 | 0:05 | 2.0472 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.3689
34 | 0:06 | 2.3689 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.9068
35 | 0:06 | 2.9068 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.8746
36 | 0:06 | 1.8746 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.4582
37 | 0:06 | 1.4582 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.2578
38 | 0:06 | 1.2578 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.0821
39 | 0:06 | 1.0821 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.2267
40 | 0:07 | 1.2267 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.5329
41 | 0:07 | 1.5329 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.6161
42 | 0:07 | 2.6161 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.1948
43 | 0:07 | 3.1948 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.2412
44 | 0:07 | 3.2412 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.3542
45 | 0:07 | 3.3542 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.5214
46 | 0:08 | 3.5214 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.3585
47 | 0:08 | 3.3585 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.8826
48 | 0:08 | 2.8826 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.8488
49 | 0:08 | 1.8488 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.0056
50 | 0:08 | 1.0056 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.31228
51 | 0:08 | 0.31228 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.73354
52 | 0:09 | -0.73354 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.2552
53 | 0:09 | -1.2552 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.7291
54 | 0:09 | -1.7291 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.0775
55 | 0:09 | -2.0775 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.0797
56 | 0:09 | -3.0797 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.8673
57 | 0:09 | -3.8673 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.2722
58 | 0:10 | -4.2722 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.0327
59 | 0:10 | -5.0327 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.9641
60 | 0:10 | -5.9641 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.6535
61 | 0:10 | -6.6535 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.2489
62 | 0:10 | -7.2489 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.0368
63 | 0:10 | -8.0368 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.6145
64 | 0:11 | -8.6145 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.8764
65 | 0:11 | -7.8764 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.7231
66 | 0:11 | -6.7231 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.6484
67 | 0:11 | -5.6484 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.566
68 | 0:11 | -4.566 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.4432
69 | 0:11 | -3.4432 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.1443
70 | 0:12 | -1.1443 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.9465
71 | 0:12 | 3.9465 | 0 | 999999 | 166666.5 | 20 | 2000 | 8.8887
72 | 0:12 | 8.8887 | 0 | 999999 | 166666.5 | 20 | 2000 | 12.7919
73 | 0:12 | 12.7919 | 0 | 999999 | 166666.5 | 20 | 2000 | 15.3078
74 | 0:12 | 15.3078 | 0 | 999999 | 166666.5 | 20 | 2000 | 16.8347
75 | 0:12 | 16.8347 | 0 | 999999 | 166666.5 | 20 | 2000 | 18.3616
76 | 0:13 | 18.3616 | 0 | 999999 | 166666.5 | 20 | 2000 | 19.2637
77 | 0:13 | 19.2637 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
78 | 0:13 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
79 | 0:13 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
80 | 0:13 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
81 | 0:13 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
82 | 0:14 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
83 | 0:14 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
84 | 0:14 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
85 | 0:14 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
86 | 0:14 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
87 | 0:14 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
88 | 0:15 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
89 | 0:15 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 20
90 | 0:15 | 20 | 0 | 999999 | 166666.5 | 20 | 2000 | 18.1289
91 | 0:15 | 18.1289 | 0 | 999999 | 166666.5 | 20 | 2000 | 15.5293
92 | 0:15 | 15.5293 | 0 | 999999 | 166666.5 | 20 | 2000 | 12.1375
93 | 0:15 | 12.1375 | 0 | 999999 | 166666.5 | 20 | 2000 | 8.8263
94 | 0:16 | 8.8263 | 0 | 999999 | 166666.5 | 20 | 2000 | 6.4067
95 | 0:16 | 6.4067 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.248
96 | 0:16 | 4.248 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.7114
97 | 0:16 | 1.7114 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.8716
98 | 0:16 | -1.8716 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.646
99 | 0:16 | -4.646 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.6252
100 | 0:17 | -5.6252 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.8523
101 | 0:17 | -5.8523 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.9403
102 | 0:17 | -6.9403 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.6022
103 | 0:17 | -7.6022 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.928
104 | 0:17 | -7.928 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.8153
105 | 0:17 | -7.8153 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.5096
106 | 0:18 | -7.5096 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.48
107 | 0:18 | -7.48 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.4505
108 | 0:18 | -7.4505 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.7507
109 | 0:18 | -7.7507 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.6071
110 | 0:18 | -8.6071 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.0375
111 | 0:18 | -10.0375 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.2688
112 | 0:19 | -9.2688 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.9818
113 | 0:19 | -7.9818 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.4345
114 | 0:19 | -6.4345 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.521
115 | 0:19 | -5.521 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.6076
116 | 0:19 | -4.6076 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.6729
117 | 0:19 | -3.6729 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.2139
118 | 0:20 | -3.2139 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.2034
119 | 0:20 | -1.2034 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.50344
120 | 0:20 | 0.50344 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.3975
121 | 0:20 | 1.3975 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.119
122 | 0:20 | 2.119 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.3922
123 | 0:20 | 2.3922 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.1593
124 | 0:21 | 3.1593 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.2116
125 | 0:21 | 2.2116 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.8306
126 | 0:21 | 2.8306 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.6135
127 | 0:21 | 3.6135 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.8286
128 | 0:21 | 4.8286 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.1764
129 | 0:21 | 5.1764 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.245
130 | 0:22 | 5.245 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.4065
131 | 0:22 | 5.4065 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.5518
132 | 0:22 | 5.5518 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.5349
133 | 0:22 | 5.5349 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.2841
134 | 0:22 | 4.2841 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.6484
135 | 0:22 | 1.6484 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.58784
136 | 0:23 | -0.58784 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.833
137 | 0:23 | -1.833 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.9106
138 | 0:23 | -2.9106 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.7925
139 | 0:23 | -3.7925 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.299
140 | 0:23 | -4.299 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.971
141 | 0:23 | -4.971 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.5317
142 | 0:24 | -5.5317 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.2973
143 | 0:24 | -6.2973 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.2255
144 | 0:24 | -7.2255 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.6038
145 | 0:24 | -7.6038 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.741
146 | 0:24 | -6.741 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.4893
147 | 0:24 | -5.4893 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.2643
148 | 0:24 | -4.2643 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.6515
149 | 0:25 | -3.6515 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.5351
150 | 0:25 | -2.5351 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.8231
151 | 0:25 | -1.8231 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.202
152 | 0:25 | -2.202 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.9115
153 | 0:25 | -1.9115 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.9854
154 | 0:25 | -1.9854 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8861
155 | 0:26 | -2.8861 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.1459
156 | 0:26 | -3.1459 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.1587
157 | 0:26 | -2.1587 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.4051
158 | 0:26 | -0.4051 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.0985
159 | 0:26 | 1.0985 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.3948
160 | 0:26 | 2.3948 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.9007
161 | 0:27 | 3.9007 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.1011
162 | 0:27 | 5.1011 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.1751
163 | 0:27 | 5.1751 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.8698
164 | 0:27 | 3.8698 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.7303
165 | 0:27 | 1.7303 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.0756
166 | 0:27 | 1.0756 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.3902
167 | 0:28 | 1.3902 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.1491
168 | 0:28 | 1.1491 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.57287
169 | 0:28 | 0.57287 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.039203
170 | 0:28 | 0.039203 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.23417
171 | 0:28 | -0.23417 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.433
172 | 0:28 | -0.433 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.53822
173 | 0:29 | -0.53822 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.5938
174 | 0:29 | -1.5938 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.6921
175 | 0:29 | -2.6921 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.039
176 | 0:29 | -3.039 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.6942
177 | 0:29 | -3.6942 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.7084
178 | 0:29 | -4.7084 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.173
179 | 0:30 | -6.173 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.6289
180 | 0:30 | -7.6289 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.0693
181 | 0:30 | -9.0693 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.7669
182 | 0:30 | -9.7669 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.3243
183 | 0:30 | -10.3243 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.7974
184 | 0:30 | -10.7974 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.9428
185 | 0:31 | -10.9428 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.5312
186 | 0:31 | -9.5312 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.7611
187 | 0:31 | -7.7611 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.0284
188 | 0:31 | -6.0284 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.498
189 | 0:31 | -4.498 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.1118
190 | 0:31 | -2.1118 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.40451
191 | 0:32 | -0.40451 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.095144
192 | 0:32 | 0.095144 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.82705
193 | 0:32 | 0.82705 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.9746
194 | 0:32 | 1.9746 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.9989
195 | 0:32 | 2.9989 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7201
196 | 0:32 | 3.7201 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7271
197 | 0:33 | 3.7271 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.734
198 | 0:33 | 3.734 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7409
199 | 0:33 | 3.7409 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7478
200 | 0:33 | 3.7478 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7547
201 | 0:33 | 3.7547 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7616
202 | 0:33 | 3.7616 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7685
203 | 0:34 | 3.7685 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7754
204 | 0:34 | 3.7754 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7823
205 | 0:34 | 3.7823 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7892
206 | 0:34 | 3.7892 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7961
207 | 0:34 | 3.7961 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.803
208 | 0:34 | 3.803 | 0 | 999999 | 166666.5 | 20 | 2000 | 8.9791
209 | 0:35 | 8.9791 | 0 | 999999 | 166666.5 | 20 | 2000 | 7.3666
210 | 0:35 | 7.3666 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.2066
211 | 0:35 | 5.2066 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.8675
212 | 0:35 | 2.8675 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.77473
213 | 0:35 | 0.77473 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.1144
214 | 0:35 | 1.1144 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.4239
215 | 0:36 | 2.4239 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.7727
216 | 0:36 | 4.7727 | 0 | 999999 | 166666.5 | 20 | 2000 | 6.5059
217 | 0:36 | 6.5059 | 0 | 999999 | 166666.5 | 20 | 2000 | 7.7753
218 | 0:36 | 7.7753 | 0 | 999999 | 166666.5 | 20 | 2000 | 7.8521
219 | 0:36 | 7.8521 | 0 | 999999 | 166666.5 | 20 | 2000 | 7.2079
220 | 0:36 | 7.2079 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.6458
221 | 0:37 | 5.6458 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.5371
222 | 0:37 | 3.5371 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.4285
223 | 0:37 | 1.4285 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.29576
224 | 0:37 | -0.29576 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.8954
225 | 0:37 | -1.8954 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.8847
226 | 0:37 | -3.8847 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.8762
227 | 0:38 | -4.8762 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.958
228 | 0:38 | -5.958 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.2023
229 | 0:38 | -6.2023 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.8736
230 | 0:38 | -5.8736 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.7332
231 | 0:38 | -5.7332 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.5138
232 | 0:38 | -5.5138 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.8599
233 | 0:39 | -4.8599 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.4084
234 | 0:39 | -4.4084 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.1199
235 | 0:39 | -4.1199 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.9077
236 | 0:39 | -2.9077 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.4148
237 | 0:39 | -4.4148 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.7794
238 | 0:39 | -5.7794 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.6357
239 | 0:40 | -5.6357 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.2523
240 | 0:40 | -5.2523 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.4105
241 | 0:40 | -5.4105 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.6718
242 | 0:40 | -6.6718 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.7054
243 | 0:40 | -7.7054 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.6238
244 | 0:40 | -7.6238 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.4973
245 | 0:41 | -7.4973 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.5151
246 | 0:41 | -6.5151 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.1758
247 | 0:41 | -5.1758 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.8328
248 | 0:41 | -3.8328 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.3516
249 | 0:41 | -2.3516 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.75958
250 | 0:41 | -0.75958 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.83246
251 | 0:42 | 0.83246 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.8893
252 | 0:42 | 0.8893 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.9482
253 | 0:42 | 1.9482 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.4453
254 | 0:42 | 2.4453 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.786
255 | 0:42 | 2.786 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.8415
256 | 0:42 | 2.8415 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.9495
257 | 0:43 | 2.9495 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.1533
258 | 0:43 | 3.1533 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.357
259 | 0:43 | 3.357 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.2102
260 | 0:43 | 3.2102 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.6445
261 | 0:43 | 2.6445 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.6115
262 | 0:43 | 2.6115 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.4773
263 | 0:44 | 2.4773 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.7866
264 | 0:44 | 1.7866 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.0116
265 | 0:44 | 1.0116 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.12877
266 | 0:44 | 0.12877 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.2638
267 | 0:44 | -1.2638 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8343
268 | 0:44 | -2.8343 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.6873
269 | 0:45 | -4.6873 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.4468
270 | 0:45 | -6.4468 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.5774
271 | 0:45 | -7.5774 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.3524
272 | 0:45 | -7.3524 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.1563
273 | 0:45 | -6.1563 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.4052
274 | 0:45 | -4.4052 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.4671
275 | 0:46 | -2.4671 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.83342
276 | 0:46 | -0.83342 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.54802
277 | 0:46 | 0.54802 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.6469
278 | 0:46 | 1.6469 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.5115
279 | 0:46 | 2.5115 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.0248
280 | 0:46 | 3.0248 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.0538
281 | 0:47 | 3.0538 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.5954
282 | 0:47 | 3.5954 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.8722
283 | 0:47 | 4.8722 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.677
284 | 0:47 | 5.677 | 0 | 999999 | 166666.5 | 20 | 2000 | 6.7207
285 | 0:47 | 6.7207 | 0 | 999999 | 166666.5 | 20 | 2000 | 7.8276
286 | 0:47 | 7.8276 | 0 | 999999 | 166666.5 | 20 | 2000 | 8.0295
287 | 0:48 | 8.0295 | 0 | 999999 | 166666.5 | 20 | 2000 | 6.8408
288 | 0:48 | 6.8408 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.4218
289 | 0:48 | 4.4218 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.2558
290 | 0:48 | 2.2558 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.97832
291 | 0:48 | 0.97832 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.72553
292 | 0:48 | 0.72553 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.099662
293 | 0:49 | 0.099662 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.35035
294 | 0:49 | -0.35035 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.85568
295 | 0:49 | -0.85568 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.3416
296 | 0:49 | -2.3416 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.8107
297 | 0:49 | -3.8107 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.4819
298 | 0:49 | -5.4819 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.1753
299 | 0:50 | -7.1753 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.5399
300 | 0:50 | -8.5399 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.8924
301 | 0:50 | -8.8924 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9033
302 | 0:50 | -8.9033 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9143
303 | 0:50 | -8.9143 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9253
304 | 0:50 | -8.9253 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9362
305 | 0:51 | -8.9362 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9472
306 | 0:51 | -8.9472 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9582
307 | 0:51 | -8.9582 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9691
308 | 0:51 | -8.9691 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9801
309 | 0:51 | -8.9801 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9911
310 | 0:51 | -8.9911 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.002
311 | 0:52 | -9.002 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.013
312 | 0:52 | -9.013 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.0239
313 | 0:52 | -9.0239 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.708
314 | 0:52 | -3.708 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.2312
315 | 0:52 | -4.2312 | 0 | 999999 | 166666.5 | 20 | 2000 | -5.9461
316 | 0:52 | -5.9461 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.0682
317 | 0:53 | -7.0682 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.1963
318 | 0:53 | -7.1963 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.9987
319 | 0:53 | -7.9987 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.3591
320 | 0:53 | -9.3591 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.5496
321 | 0:53 | -10.5496 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.7616
322 | 0:53 | -10.7616 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.5317
323 | 0:54 | -10.5317 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.1535
324 | 0:54 | -10.1535 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.9344
325 | 0:54 | -8.9344 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.3241
326 | 0:54 | -6.3241 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.6542
327 | 0:54 | -2.6542 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.55704
328 | 0:54 | 0.55704 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.5582
329 | 0:55 | 3.5582 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.0168
330 | 0:55 | 5.0168 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.854
331 | 0:55 | 5.854 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.3081
332 | 0:55 | 5.3081 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.9571
333 | 0:55 | 4.9571 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.7051
334 | 0:55 | 5.7051 | 0 | 999999 | 166666.5 | 20 | 2000 | 8.5072
335 | 0:56 | 8.5072 | 0 | 999999 | 166666.5 | 20 | 2000 | 12.1976
336 | 0:56 | 12.1976 | 0 | 999999 | 166666.5 | 20 | 2000 | 14.4994
337 | 0:56 | 14.4994 | 0 | 999999 | 166666.5 | 20 | 2000 | 16.523
338 | 0:56 | 16.523 | 0 | 999999 | 166666.5 | 20 | 2000 | 16.9532
339 | 0:56 | 16.9532 | 0 | 999999 | 166666.5 | 20 | 2000 | 16.0106
340 | 0:56 | 16.0106 | 0 | 999999 | 166666.5 | 20 | 2000 | 14.3427
341 | 0:57 | 14.3427 | 0 | 999999 | 166666.5 | 20 | 2000 | 13.0921
342 | 0:57 | 13.0921 | 0 | 999999 | 166666.5 | 20 | 2000 | 12.0623
343 | 0:57 | 12.0623 | 0 | 999999 | 166666.5 | 20 | 2000 | 10.7266
344 | 0:57 | 10.7266 | 0 | 999999 | 166666.5 | 20 | 2000 | 9.6085
345 | 0:57 | 9.6085 | 0 | 999999 | 166666.5 | 20 | 2000 | 8.2325
346 | 0:57 | 8.2325 | 0 | 999999 | 166666.5 | 20 | 2000 | 7.3512
347 | 0:58 | 7.3512 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.6777
348 | 0:58 | 4.6777 | 0 | 999999 | 166666.5 | 20 | 2000 | 1.7176
349 | 0:58 | 1.7176 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.3531
350 | 0:58 | -1.3531 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.9171
351 | 0:58 | -2.9171 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.9134
352 | 0:58 | -2.9134 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.9096
353 | 0:59 | -2.9096 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.9058
354 | 0:59 | -2.9058 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.902
355 | 0:59 | -2.902 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8982
356 | 0:59 | -2.8982 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8944
357 | 0:59 | -2.8944 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8906
358 | 0:59 | -2.8906 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8868
359 | 1:00 | -2.8868 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.883
360 | 1:00 | -2.883 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8792
361 | 1:00 | -2.8792 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8755
362 | 1:00 | -2.8755 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.8717
363 | 1:00 | -2.8717 | 0 | 999999 | 166666.5 | 20 | 2000 | -15.0425
364 | 1:00 | -15.0425 | 0 | 999999 | 166666.5 | 20 | 2000 | -13.9436
365 | 1:01 | -13.9436 | 0 | 999999 | 166666.5 | 20 | 2000 | -13.0333
366 | 1:01 | -13.0333 | 0 | 999999 | 166666.5 | 20 | 2000 | -12.3542
367 | 1:01 | -12.3542 | 0 | 999999 | 166666.5 | 20 | 2000 | -11.9808
368 | 1:01 | -11.9808 | 0 | 999999 | 166666.5 | 20 | 2000 | -11.1138
369 | 1:01 | -11.1138 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.2206
370 | 1:01 | -10.2206 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.3184
371 | 1:02 | -9.3184 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.8888
372 | 1:02 | -6.8888 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.4762
373 | 1:02 | -4.4762 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.3951
374 | 1:02 | -3.3951 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.9554
375 | 1:02 | -1.9554 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.0655
376 | 1:03 | -4.0655 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.5983
377 | 1:03 | -1.5983 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.33417
378 | 1:03 | -0.33417 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.32809
379 | 1:03 | -0.32809 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.39
380 | 1:03 | -0.39 | 0 | 999999 | 166666.5 | 20 | 2000 | -0.66294
381 | 1:03 | -0.66294 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.0083
382 | 1:04 | -1.0083 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.3536
383 | 1:04 | -1.3536 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.536
384 | 1:04 | -2.536 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.4202
385 | 1:04 | -4.4202 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.3912
386 | 1:04 | -6.3912 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.3178
387 | 1:04 | -7.3178 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.6211
388 | 1:05 | -8.6211 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.595
389 | 1:05 | -9.595 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.4658
390 | 1:05 | -10.4658 | 0 | 999999 | 166666.5 | 20 | 2000 | -11.0518
391 | 1:05 | -11.0518 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.6824
391 | 1:05 | -10.6824 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.7695
391 | 1:05 | -9.7695 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.5091
391 | 1:06 | -9.5091 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.8465
391 | 1:06 | -10.8465 | 0 | 999999 | 166666.5 | 20 | 2000 | -10.9493
391 | 1:06 | -10.9493 | 0 | 999999 | 166666.5 | 20 | 2000 | -9.7718
391 | 1:06 | -9.7718 | 0 | 999999 | 166666.5 | 20 | 2000 | -8.7094
391 | 1:06 | -8.7094 | 0 | 999999 | 166666.5 | 20 | 2000 | -7.5324
391 | 1:06 | -7.5324 | 0 | 999999 | 166666.5 | 20 | 2000 | -6.0651
391 | 1:07 | -6.0651 | 0 | 999999 | 166666.5 | 20 | 2000 | -4.5978
391 | 1:07 | -4.5978 | 0 | 999999 | 166666.5 | 20 | 2000 | -3.1304
391 | 1:07 | -3.1304 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.6617
391 | 1:07 | -2.6617 | 0 | 999999 | 166666.5 | 20 | 2000 | -2.1606
391 | 1:07 | -2.1606 | 0 | 999999 | 166666.5 | 20 | 2000 | -1.0576
391 | 1:07 | -1.0576 | 0 | 999999 | 166666.5 | 20 | 2000 | 0.73137
391 | 1:08 | 0.73137 | 0 | 999999 | 166666.5 | 20 | 2000 | 2.9046
391 | 1:08 | 2.9046 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.3697
391 | 1:08 | 5.3697 | 0 | 999999 | 166666.5 | 20 | 2000 | 6.1941
391 | 1:08 | 6.1941 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.4275
391 | 1:08 | 5.4275 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.4213
391 | 1:08 | 4.4213 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.8423
391 | 1:09 | 3.8423 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.579
391 | 1:09 | 3.579 | 0 | 999999 | 166666.5 | 20 | 2000 | 3.7553
391 | 1:09 | 3.7553 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.246
391 | 1:09 | 4.246 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.7508
391 | 1:09 | 4.7508 | 0 | 999999 | 166666.5 | 20 | 2000 | 4.6763
391 | 1:09 | 4.6763 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.0867
391 | 1:10 | 5.0867 | 0 | 999999 | 166666.5 | 20 | 2000 | 5.497
391 | 1:10 | 5.497 | 0 | 999999 | 166666.5 | 20 | 2000 | 6.1202
391 | 1:10 | 6.1202 | 0 | 999999 | 166666.5 | 20 | 2000 | 6.819
391 | 1:10 | 6.819 | 0 | 999999 | 166666.5 | 20 | 2000 | 7.5179
9384:00 | -10.6824 | 0 | 999999 | 166666.5 | 0 | 2000 | -9.7695
9384:00 | -9.7695 | 0 | 999999 | 166666.5 | 0 | 2000 | -9.5091
9384:00 | -9.5091 | 0 | 999999 | 166666.5 | 0 | 2000 | -10.8465
9384:01 | -10.8465 | 0 | 999999 | 166666.5 | 0 | 2000 | -10.9493
9384:01 | -10.9493 | 0 | 999999 | 166666.5 | 0 | 2000 | -9.7718
9384:01 | -9.7718 | 0 | 999999 | 166666.5 | 0 | 2000 | -8.7094
9384:01 | -8.7094 | 0 | 999999 | 166666.5 | 0 | 2000 | -7.5324
9384:01 | -7.5324 | 0 | 999999 | 166666.5 | 0 | 2000 | -6.0651
9384:02 | -6.0651 | 0 | 999999 | 166666.5 | 0 | 2000 | -4.5978
9384:02 | -4.5978 | 0 | 999999 | 166666.5 | 0 | 2000 | -3.1304
9384:02 | -3.1304 | 0 | 999999 | 166666.5 | 0 | 2000 | -2.6617
9384:02 | -2.6617 | 0 | 999999 | 166666.5 | 0 | 2000 | -2.1606
9384:02 | -2.1606 | 0 | 999999 | 166666.5 | 0 | 2000 | -1.0576
9384:02 | -1.0576 | 0 | 999999 | 166666.5 | 0 | 2000 | 0.73137
9384:02 | 0.73137 | 0 | 999999 | 166666.5 | 0 | 2000 | 2.9046
9384:03 | 2.9046 | 0 | 999999 | 166666.5 | 0 | 2000 | 5.3697
9384:03 | 5.3697 | 0 | 999999 | 166666.5 | 0 | 2000 | 6.1941
9384:03 | 6.1941 | 0 | 999999 | 166666.5 | 0 | 2000 | 5.4275
9384:03 | 5.4275 | 0 | 999999 | 166666.5 | 0 | 2000 | 4.4213
9384:03 | 4.4213 | 0 | 999999 | 166666.5 | 0 | 2000 | 3.8423
9384:04 | 3.8423 | 0 | 999999 | 166666.5 | 0 | 2000 | 3.579
9384:04 | 3.579 | 0 | 999999 | 166666.5 | 0 | 2000 | 3.7553
9384:04 | 3.7553 | 0 | 999999 | 166666.5 | 0 | 2000 | 4.246
9384:04 | 4.246 | 0 | 999999 | 166666.5 | 0 | 2000 | 4.7508
9384:04 | 4.7508 | 0 | 999999 | 166666.5 | 0 | 2000 | 4.6763
9384:04 | 4.6763 | 0 | 999999 | 166666.5 | 0 | 2000 | 5.0867
9384:04 | 5.0867 | 0 | 999999 | 166666.5 | 0 | 2000 | 5.497
9384:05 | 5.497 | 0 | 999999 | 166666.5 | 0 | 2000 | 6.1202
9384:05 | 6.1202 | 0 | 999999 | 166666.5 | 0 | 2000 | 6.819
9384:05 | 6.819 | 0 | 999999 | 166666.5 | 0 | 2000 | 7.5179
Note on C1: This quantity is the resource (net) output/consumption, as telemetered to PJM
Note on D1: This is the economic basepoint / non-regulation setpoint
Note on E1: This is the economic ramp rate limit of the resource, as submitted to eMKT
Note on H1: This is the fleet TREG, as telemetered to PJM
Note on I1: This is the regulation signal, as sent from PJM, calculated by the EMS